Preparation of Climate Change Adaptation Plans

Pilot Study by Local Authorities

Draft input from The Irish Academy of Engineering 19th Feb 2016

Purpose of Study:

The impact of severe flooding caused by climate change on those directly affected is catastrophic. However the impact of climate change, with increased rainfall intensity and frequency at times of the year and potential drought at others; sea level rise; more severe storms; increase in wave height and storm surges, also poses potential significant risks for all of the essential services on which our modern society depends. Water supply, sewage treatment, electricity and gas supply, communications services, transport, health and education infrastructure, are all at risk if we do not adapt to the reality which is climate change.

The purpose of this pilot study is for the designated local authorities to ascertain what potential risks to critical infrastructure, resulting from climate change, exist within the local authority geographic area, who is responsible for such infrastructure and what adaptation plans, if any, are in place to deal with these risks. The experience gained in completing the pilot study should facilitate implementation of a process to prepare comprehensive climate change adaptation plans for critical infrastructure nationwide and to monitor and report on their implementation.

Terms of Reference:

- Record infrastructure owners / operators in the local authority geographic area

- Include the following infrastructure areas – flood protection; electricity; gas; water supply; sewage treatment; communications; roads; rail; health; education.

- Include name and contact details for main local representatives of infrastructure owners / operators

- Liaise with all Infrastructure owners / operators in the local authority area

- Ascertain if each infrastructure owner has carried out climate change risk assessment.

- Ascertain if each infrastructure owner / operator has prepared a climate change adaptation plan where potential risks exist.

- Record who is responsible for implementing adaptation plans and the current implementation status

- Identify and record critical infrastructure which could be impacted by climate change e.g. changes in rainfall patterns / intensity, temperatures, sea level rise, storm surges, wave heights, wind speeds.

- Ascertain interdependencies between different areas of infrastructure e.g. water treatment dependency on the availability of electricity supply or electricity supply dependency on availability of communications, etc.

- Establish a Climate Change Adaptation Forum in the local authority area

- Establish a Climate Change Adaptation Forum with representation from the local authority and all infrastructure owners / operators in the local authority area

- This Forum to be used as a means to identify interdependencies between infrastructure areas, agree priority adaptation measures and monitor progress in implementing adaptation plans.

- Prepare a Climate Change Adaptation Plan for the local authority area

- Based on interaction with infrastructure owners prepare a Climate Change Adaptation Plan for the local authority area which includes:

- The potential climate change risks to each area of critical infrastructure, including interdependency risks.

- The adaptation actions which need to be taken to address these risks and the organisation responsible for implementation.

- Which actions have been agreed will be implemented and have been budgeted for; who is responsible for implementation and over what timescale.

- An assessment of the competencies required within the local authority or within its region, to enable the climate change challenges to be addressed.

- An assessment of the budgetary requirements, locally, within the region and nationally.

- Propose a process for monitoring and reporting on risk assessment and implementation of Climate Change Adaptation Plans

- Report on lessons learned in completing the pilot study

- Prepare a report for the Department of Environment, Community and Local Government, and for the relevant Regional Assembly, which includes:

- Difficulties encountered in completing the pilot study and how these difficulties can be overcome

- Proposed improvements to the process if it is to be implemented across all local authorities

- Recommendations on how best the climate change adaptation process should be operationally managed at local, regional and national level